ΚΑΥΣΤΗΡΕΣ ΓΕΡΜΑΝΙΑΣ ΠΕΤΡΕΛΑΙΟΥ – ΑΕΡΙΟΥ

HERRMANN ΚΑΥΣΤΗΡΑΣ ΠΕΤΡΕΛΑΙΟΥ

| Τύπος Type (kg/h) Ισχύς Power(kcal/h) HL 60 AL2 1,3 - 4,5 13.760 - 45.580 HL 60 BL2 3,1 - 5,5 31.820 - 55.900 Τύπος Type (kg/h) Ισχύς Power(kcal/h) HL120 A 4,0 - 10,0 | 40.420 - 103.200 HL120 B 4,0 - 12,0 40.420 - 120.200 HL150 B 6,0 - 17,0 61.000 - 170.000 Τύπος Type (kg/h) Ισχύς Power(kcal/h) HLZ 250 AL 9,0 - 19,0 92.090 - 193.500 HLZ 250 BL 16,0 - 30,0 163.000 - 305.300 Τύπος Type (kg/h) Ισχύς Power(kcal/h) HLZ 550 BL 19,0 - 50,0 193.090 - 509.980 Τύπος Type (kg/h) Ισχύς Power(kcal/h) HLZ 950 BL 27,0 - 85,0 275.200 - 866.800 Τύπος Type (kg/h) Ισχύς Power(kcal/h) HLZ 2000 L 50,0 - 184,0 509.980 - 1.876.520 |
| --- | --- |

HERRMANN ΚΑΥΣΤΗΡΑΣ ΦΥΣΙΚΟΥ ΑΕΡΙΟΥ ΚΑΙ ΠΡΟΠΑΝΙΟΥ

| Τύπος Gasburner Type | Ισχύς Burner output | Καύσιμο Kind of gas | Πίεση λειτουργίας Gas Pressure | Στοιχεία Options |
| --- | --- | --- | --- | --- |
| HG 50 AL 1 - Ε | 12.900-22.360 15-16 | Φυσικό Αέριο Natural Gas | 20 | With Multibloc With Air Closing With Gas Supply 1/2" |
| HC50AL1-E | 12.900-22.360 15-16 | Φυσικό Αέριο Natural Gas | 20 | With Multibloc With Air Closing With Gas Supply 1/2" |
| HC 50 BL 2 - Ε | 17.200-55.900 20-65 | Φυσικό Αέριο Natural Gas | 20 | With Multibloc With Air Closing With Gas Supply 1/2" |
| HG50BL2-E | 17.200-55.900 20-65 | Φυσικό Αέριο Natural Gas | 20 | With Multibloc With Air Closing With Gas Supply 1/2" |
| HG50AL1 -F | 12.900-22.360 15-26 | Προπάνιο Liquid Gas | 50 | With Multibloc With Air Closing With Gas Supply 1/2" |
| HG50AL1 -F | 12.900-22.360 15-26 | Προπάνιο Liquid Gas | so | With Multibloc With Air Closing With Gas Supply 1/2" |
| HG50AL2-F | 17.200-55.900 20-65 | Προπάνιο Liquid Gas | 50 | With Multibloc With Air Closing With Gas Supply Vz" |
| HG50AL2-F | 17.200-55.900 20-65 | Προπάνιο Liquid Gas | 50 | With Multibloc With Air Closing With Gas Supply 1/2" |
| HG90-E | 49.880 - 79.980 58-93 | Φυσικό Αέριο Natural Gas | 20 | With Muitibloc Without Air Closing With Gas Supply 3/4" |
| HG90-F | 49.880 - 79.980 5Θ-93 | Προπάνιο Liquid Gas | 50 | With Multibloc Without Air Closing With Gas Supply 3/4" |
| HG90-E | 49.880 - 79.980 58-93 | Φυσικό Αέριο Natural Gas | 20 | With Multibloc Without Air Closing With Gas Supply 3/4" With Leckage Control |
| HG90F | 49.880 - 79.980 58-93 | Προπάνιο Liquid Gas | 50 | With Multibloc Without Air Closing With Leckage Control With Gas Supply 3/4" |
| HGZ 250 AL1 | 68.800-167.700 80-195 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Gas Supply 1" |
| HGZ 250 AL 1 | 68.800-167.700 80-195 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 1" |
| HGZ 250 BL1 | 146.200-229.620 170-267 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Gas Supply 1" |
| HGZ 250 BL 1 | 146.200-229.620 170-267 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 1" |
| HGZ 300 L | 55.900-301.000 65 - 350 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Gas Supply 1 1/2" |
| HGZ 300 L | 55.900-301.000 65 - 350 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 1 1/2" |
| HGZ 500 L | 137.600-449.780 160-523 | Φυσικό Αέριο Natural Gas | 26 | Two Stage With Multibloc With Air Closing With Gas Supply 1 1/2" |
| HGZ 500 L | 137.600-449.780 160-523 | Φυσικό Αέριο Natural Gas | 26 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 11/2' |
| HGZ 500 L | 137.600-668.000 160-800 | Φυσικό Αέριο Natural Gas | 30 | Two Stage With Multibloc With Air Closing With Gas Supply 2" |
| HGZ 500 L | 137.600-688.000 160-800 | Φυσικό Αέριο Natural Gas | 30 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 2" |
| HGL 500 L | 137.600 - 688.000 160 - 800 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 2 1/2' |
| HG500L | 137.600 - 688.000 160 - 800 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 2 1/2' |
| HGZ 800 L | 258.000 - 1.032.000 300 -1200 | Φυσικό Αέριο Natural Gas | 60 | Two Stage With Multibloc With Air Closing With Gas Supply Τ2" |
| HGZ800L | 258.000 -1.032.000 300 -1200 | Φυσικό Αέριο Natural Gas | 28 | Two Stage With Multibloc With Air Closing With Leckage Control With Gas Supply 2" |
| HGZ 800 L | 258.000 -1.032.000 300 -1200 | Φυσικό Αέριο Natural Gas | 28 | Two Stage With Twin Valve With Air Closing With Leckage Control With Gas Supply 2 1/2' |
| HGZ 800 L | 258.000 -1.032.000 300 -1200 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Twin valve With Air Closing With Gas Supply 3" |
| HGZ 800 L | 258.000 -1.032.000 300 -1200 | Φυσικό Αέριο Natural Gas | 20 | Two Stage With Twin valve With Air Closing With Gas Supply 3" |

Επεξήγηση Στοιχείων
With Multibloc => Ράμπα Αερίου
With Air Closing => Τάμττερ Αέρα 
Without Air Closing => Χωρίς Τάμττερ Αέρα
With Gas Supply => Παροχή
With Leckage Control => Έλεγχος στεγανότητας ράμπας
Two Stage => 2 Στάδια Φλόγας